## Solar Farm
|  |  | Input Data | Calculated
Efficiency of Solar Module | 24% | [12 empty] | eff | IRR | NPV | Pay Back Yr | CO2 save/yr (t) | LCOE (p/MWh)
Module Degradation Rate | 0.3% | Relative/year | [11 empty] | 21 | 11.99% | 26.501 | 12.3234 | 24202.7 | 16.5271
Area available for installation | 555600 | square meters | [10 empty] | 1.5834 | 21.5 | 12.39% | 28.0844 | 11.9642 | 24778.9547 | 16.1427
Total Power Rating of Installation | 133344 | kW | 133.344 | MW | [5 empty] | 63334.3115 |  |  |  | 22 | 12.79% | 29.6677 | 11.6213 | 25355.2095 | 15.7759
Panel Size | 2 | L | 1 | meters | [9 empty] | 22.5 | 13.2% | 31.2511 | 11.2936 | 25931.4643 | 15.4253
|  | W | 2 | meters | [9 empty] | 23 | 13.6% | 32.8345 | 10.9801 | 26507.719 | 15.0899
Module Power Rating | 480 | Watts | [11 empty] | 23.5 | 14% | 34.4178 | 10.68 | 27083.9738 | 14.7689
Number of Panels to Install | 277800 | [12 empty] | 24 | 14.41% | 36.0012 | 10.3924 | 27660.2285 | 14.4612
Energy Generated by 1 kWp/year | 860 | kWh | (low limit)
| 980 | kWh | (high limit)
Cost of each solar module | 100 | £
Cost of panels | 27780000 | £
Cost of inverter (3-4kW size) | 2500 | £
Cost of installation, cabling, fixtures | 12217500 | £
Total Cost of Solar installation (year 0) | 40000000 | £
Cost of Electricity high | 14.4612 | £/MWh | 0.014461 | £/kWh
Cost of Electricity low | 12.6904 | £/MWh | 0.01269 | £/kWh
Typical cost of a 100 MW plant | 40000000 | [7 empty] | IRR | 14.41%
Maintenance cost (£/MWp) | 20000 |  |  | Project Indicators |  |  |  |  | NPV | 36.0012
|  |  |  | ROI | 90% | Return on Investment |  |  | Pay back | 10.3924
Percentage of Energy use at home | 0% |  |  | IRR | 14.41% | Rate of Return |  |  | CO2 saved | 27660.2285
Percentage of Energy sold to utility | 100% |  |  | Inflation rate | 5% | Rate of capital depreciation |  |  | LCOE | 14.4612
Rate paid by utility for energy export | 0.07 | £/kWh |  | Net present value of investment | 36001173.827 |  |  |  | Area
[14 empty] | CO2 intensity of the grid g/kWh | 250 | https://ourworldindata.org/grapher/carbon-intensity-electricity?tab=chart&country=~GBR
|  | Generation Low | Generation High | [12 empty] | https://www.epa.gov/energy/greenhouse-gas-equivalencies-calculator#results
Year | Efficiency | MWh/yr | MWh/yr | Energy Used | Energy Sold MWh | Export Cash in | Maintenance | Cash Flow | Discounted | Net | Year |  | CO2 saved
1 | 24% | 114675.84 | 130677.12 | 0 | 114675.84 | 8027308.8 | 2666880 | -34639571.2 | -34639571.2 | -34639571.2 | 1 |  | 28668960000 | 0
2 | 23.93% | 114331.8125 | 130285.0886 | 0 | 114331.8125 | 8003226.8736 | 2666880 | 5336346.8736 | 5082235.1177 | -29557336.0823 | 2 |  | 28582953120 | 0
3 | 23.86% | 113988.817 | 129894.2334 | 0 | 113988.817 | 7979217.193 | 2666880 | 5312337.193 | 4818446.4335 | -24738889.6487 | 3 |  | 28497204260.64 | 0
4 | 23.78% | 113646.8506 | 129504.5507 | 0 | 113646.8506 | 7955279.5414 | 2666880 | 5288399.5414 | 4568318.3599 | -20170571.2888 | 4 |  | 28411712647.8581 | 0
5 | 23.71% | 113305.91 | 129116.037 | 0 | 113305.91 | 7931413.7028 | 2666880 | 5264533.7028 | 4331144.9059 | -15839426.3829 | 5 |  | 28326477509.9145 | 0
6 | 23.64% | 112965.9923 | 128728.6889 | 0 | 112965.9923 | 7907619.4617 | 2666880 | 5240739.4617 | 4106256.4999 | -11733169.8831 | 6 |  | 28241498077.3848 | 0
7 | 23.57% | 112627.0943 | 128342.5028 | 0 | 112627.0943 | 7883896.6033 | 2666880 | 5217016.6033 | 3893018.1139 | -7840151.7692 | 7 |  | 28156773583.1526 | 0
8 | 23.5% | 112289.213 | 127957.4753 | 0 | 112289.213 | 7860244.9135 | 2666880 | 5193364.9135 | 3690827.4846 | -4149324.2846 | 8 |  | 28072303262.4031 | 0
9 | 23.43% | 111952.3454 | 127573.6029 | 0 | 111952.3454 | 7836664.1787 | 2666880 | 5169784.1787 | 3499113.4254 | -650210.8593 | 9 |  | 27988086352.6159 | 9
10 | 23.36% | 111616.4884 | 127190.8821 | 0 | 111616.4884 | 7813154.1862 | 2666880 | 5146274.1862 | 3317334.2257 | 2667123.3665 | 10 |  | 27904122093.5581 | 0
11 | 23.29% | 111281.6389 | 126809.3095 | 0 | 111281.6389 | 7789714.7236 | 2666880 | 5122834.7236 | 3144976.1325 | 5812099.499 | 11 |  | 27820409727.2774 | 0
12 | 23.22% | 110947.794 | 126428.8815 | 0 | 110947.794 | 7766345.5795 | 2666880 | 5099465.5795 | 2981551.9097 | 8793651.4087 | 12 |  | 27736948498.0956 | 0
13 | 23.15% | 110614.9506 | 126049.5949 | 0 | 110614.9506 | 7743046.5427 | 2666880 | 5076166.5427 | 2826599.4719 | 11620250.8806 | 13 |  | 27653737652.6013 | 0
14 | 23.08% | 110283.1058 | 125671.4461 | 0 | 110283.1058 | 7719817.4031 | 2666880 | 5052937.4031 | 2679680.5883 | 14299931.4689 | 14 |  | 27570776439.6435 | 0
15 | 23.01% | 109952.2564 | 125294.4318 | 0 | 109952.2564 | 7696657.9509 | 2666880 | 5029777.9509 | 2540379.6537 | 16840311.1226 | 15 |  | 27488064110.3246 | 0
16 | 22.94% | 109622.3997 | 124918.5485 | 0 | 109622.3997 | 7673567.977 | 2666880 | 5006687.977 | 2408302.5218 | 19248613.6444 | 16 |  | 27405599917.9936 | 0
17 | 22.87% | 109293.5325 | 124543.7928 | 0 | 109293.5325 | 7650547.2731 | 2666880 | 4983667.2731 | 2283075.3996 | 21531689.044 | 17 |  | 27323383118.2396 | 0
18 | 22.8% | 108965.6519 | 124170.1614 | 0 | 108965.6519 | 7627595.6313 | 2666880 | 4960715.6313 | 2164343.7981 | 23696032.8421 | 18 |  | 27241412968.8849 | 0
19 | 22.74% | 108638.7549 | 123797.651 | 0 | 108638.7549 | 7604712.8444 | 2666880 | 4937832.8444 | 2051771.5371 | 25747804.3792 | 19 |  | 27159688729.9782 | 0
20 | 22.67% | 108312.8387 | 123426.258 | 0 | 108312.8387 | 7581898.7059 | 2666880 | 4915018.7059 | 1945039.8013 | 27692844.1805 | 20 |  | 27078209663.7883 | 0
21 | 22.6% | 107987.9001 | 123055.9792 | 0 | 107987.9001 | 7559153.0097 | 2666880 | 4892273.0097 | 1843846.2447 | 29536690.4252 | 21 |  | 26996975034.7969 | 0
22 | 22.53% | 107663.9364 | 122686.8113 | 0 | 107663.9364 | 7536475.5507 | 2666880 | 4869595.5507 | 1747904.1418 | 31284594.567 | 22 |  | 26915984109.6925 | 0
23 | 22.46% | 107340.9446 | 122318.7509 | 0 | 107340.9446 | 7513866.1241 | 2666880 | 4846986.1241 | 1656941.5817 | 32941536.1487 | 23 |  | 26835236157.3635 | 0
24 | 22.4% | 107018.9218 | 121951.7946 | 0 | 107018.9218 | 7491324.5257 | 2666880 | 4824444.5257 | 1570700.704 | 34512236.8527 | 24 |  | 26754730448.8914 | 0
25 | 22.33% | 106697.865 | 121585.9392 | 0 | 106697.865 | 7468850.5521 | 2666880 | 4801970.5521 | 1488936.9743 | 36001173.827 | 25 |  | 26674466257.5447 | 0
| Total Energy in 25 Years | 2766022.855 | 3151979.5324 | [8 empty] | Average Tons of C)2 save each year | 27660.2285
MWh